Christmas Tree Lot Requirements

- Lots must be completely free of brush and rubbish, or other accumulations.

- A portable fire extinguisher with a minimum rating of 2A10ABC shall be provided on each lot for every 75 feet of travel distance.

- A separate permit must be obtained from the City of Caldwell for erecting a tent in excess of 400 square feet, or any canopy in excess of 700 square feet.

- All tents or similar fabric-type structures must be of an approved flame-retardant material.

- Use of propane heating appliances shall be reviewed and approved by the Fire Marshal’s Office.

- A clear and unobstructed space of at least 5 feet shall be maintained around the exterior of the lot. Ample aisles and exit ways are to be maintained throughout the lot area.

- Smoking is prohibited in all areas.  “No Smoking” signs shall be posted.

- Use of warming fires is not permitted.

- Parking shall be 20 feet from temporary structures.

- If within a gated area, two unobstructed exits shall be available.

Alan Perry

Divison Chief / Fire Marshal

Caldwell Fire Department

403 Blaine St. Caldwell ID 83605

aperry@cityofcaldwell.org